## VFD
Created by VFDsoft_ 1.58
Drive Info = | VFD-CP2000 | 1.02 | 30 HP | 460V | 45.00A
Channel name = | Error Code: | Status of Drive | Frequency command F: | Output Frequency H: | Output Current A: | DC-BUS Voltage U: | Output Voltage E: | Multi-step speed (xx) | Reserved | Value of the counter (xx CNT) | Power factor angle (xx) | Torque (xxx.x %) | Motor speed (xxxx rpm) | Reserved | Reserved | Output Power (xx.xxx kw) | RUN/STOP(Cmd) | RUN/STOP(Status) | FWD/REV(Cmd) | FWD/REV(Status) | Time
Channel select = |  |  | 0 | 1 | 2 | 3
Channel unit = |  |  | Hz | Hz | A | Vdc | Vac |  |  |  |  | N-M | RPM |  |  | kW
Channel gain = |  |  | 1 | 1 | 1 | 1
Channel decimal = |  |  | 0.01 | 0.01 | 0.01 | 0.1 | 0.1 | 1 | 1 | 1 | 0.1 | 0.1 | 1 | 1 | 1 | 0.01
0 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:01.57
1 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:01.65
2 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:01.73
3 | 0 | 9472 | 20 | 0 | 0 | 563.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:01.91
4 | 0 | 9472 | 20 | 0 | 0 | 563.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:01.99
5 | 0 | 9472 | 20 | 0 | 0 | 563.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.07
6 | 0 | 9472 | 20 | 0 | 0 | 563.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.15
7 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.24
8 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.32
9 | 0 | 9472 | 20 | 0 | 0 | 563.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.40
10 | 0 | 9472 | 20 | 0 | 0 | 563.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.48
11 | 0 | 9472 | 20 | 0 | 0 | 563.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.56
12 | 0 | 9472 | 20 | 0 | 0 | 563.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.64
13 | 0 | 9472 | 20 | 0 | 0 | 563.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.73
14 | 0 | 9472 | 20 | 0 | 0 | 563.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.81
15 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.89
16 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:02.97
17 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:03.05
18 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:03.13
19 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:03.21
20 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:03.30
21 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:03.38
22 | 0 | 9472 | 20 | 0 | 0 | 563.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:08:03.46
23 | 0 | 13571 | 20 | 2.22 | 10.62 | 562.8 | 17 | 0 | 0 | 0 | 71.2 | 0 | 132 | 0 | 0 | 0.01 | L | H | L | H | 11:08:05.65
24 | 0 | 13571 | 20 | 2.29 | 10.45 | 562.7 | 17.5 | 0 | 0 | 0 | 70.5 | 0 | 137 | 0 | 0 | 0.01 | L | H | L | H | 11:08:05.73
25 | 0 | 13571 | 20 | 3.23 | 10.64 | 562.7 | 24.4 | 0 | 0 | 0 | 74.1 | 0 | 193 | 0 | 0 | 0.01 | L | H | L | H | 11:08:06.83
26 | 0 | 13571 | 20 | 4.24 | 11.49 | 562.6 | 32.1 | 0 | 0 | 0 | 75.6 | 0 | 253 | 0 | 0 | 0.01 | L | H | L | H | 11:08:08.01
27 | 0 | 13571 | 20 | 6.88 | 12.14 | 562.3 | 52.2 | 0 | 0 | 0 | 76.3 | 0 | 411 | 0 | 0 | 0.02 | L | H | L | H | 11:08:11.12
28 | 0 | 13571 | 20 | 10.58 | 13.03 | 561.4 | 80.4 | 0 | 0 | 0 | 74.8 | 0 | 634 | 0 | 0 | 0.04 | L | H | L | H | 11:08:15.48
29 | 0 | 13571 | 20 | 12.36 | 13.2 | 560.8 | 93.9 | 0 | 0 | 0 | 74.8 | 0 | 740 | 0 | 0 | 0.05 | L | H | L | H | 11:08:17.57
30 | 0 | 13571 | 20 | 12.43 | 13.24 | 560.9 | 94.4 | 0 | 0 | 0 | 74.8 | 0 | 744 | 0 | 0 | 0.05 | L | H | L | H | 11:08:17.65
31 | 0 | 13571 | 20 | 13.36 | 13.23 | 560.9 | 101.5 | 0 | 0 | 0 | 74.1 | 0 | 800 | 0 | 0 | 0.06 | L | H | L | H | 11:08:18.74
32 | 0 | 13571 | 20 | 20 | 13.49 | 559 | 151.5 | 0 | 0 | 0 | 70.5 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:29.68
33 | 0 | 13571 | 20 | 20 | 13.63 | 559.1 | 151.5 | 0 | 0 | 0 | 71.2 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:29.77
34 | 0 | 13571 | 20 | 20 | 13.54 | 559.3 | 151.5 | 0 | 0 | 0 | 71.2 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:30.85
35 | 0 | 13571 | 20 | 20 | 13.44 | 559.4 | 151.5 | 0 | 0 | 0 | 70.5 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:31.03
36 | 0 | 13571 | 20 | 20 | 13.48 | 559.6 | 151.5 | 0 | 0 | 0 | 70.5 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:31.11
37 | 0 | 13571 | 20 | 20 | 13.32 | 559.4 | 151.5 | 0 | 0 | 0 | 69.8 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:31.19
38 | 0 | 13571 | 20 | 20 | 13.46 | 559.3 | 151.5 | 0 | 0 | 0 | 70.5 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:31.27
39 | 0 | 13571 | 20 | 20 | 13.41 | 559.2 | 151.5 | 0 | 0 | 0 | 70.5 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:31.36
40 | 0 | 13571 | 20 | 20 | 13.44 | 559.3 | 151.5 | 0 | 0 | 0 | 70.5 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:31.44
41 | 0 | 13571 | 20 | 20 | 13.47 | 559.2 | 151.5 | 0 | 0 | 0 | 70.5 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:31.52
42 | 0 | 13571 | 20 | 20 | 13.48 | 559.2 | 151.5 | 0 | 0 | 0 | 70.5 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:31.60
43 | 0 | 13571 | 20 | 20 | 13.64 | 558.9 | 151.5 | 0 | 0 | 0 | 70.5 | 0 | 1199 | 0 | 0 | 0.11 | L | H | L | H | 11:08:32.67
44 | 0 | 13569 | 20 | 15.11 | 13.3 | 560 | 113.8 | 0 | 0 | 0 | 77.7 | 0 | 906 | 0 | 0 | 0.06 | L | H | L | H | 11:08:42.08
45 | 0 | 13569 | 20 | 15.06 | 13.32 | 560.1 | 113.5 | 0 | 0 | 0 | 77.7 | 0 | 903 | 0 | 0 | 0.06 | L | H | L | H | 11:08:42.16
46 | 0 | 13569 | 20 | 15.02 | 13.37 | 560.2 | 113.1 | 0 | 0 | 0 | 75.6 | 0 | 900 | 0 | 0 | 0.06 | L | H | L | H | 11:08:42.24
47 | 0 | 13569 | 20 | 14.4 | 13.42 | 560.8 | 108.4 | 0 | 0 | 0 | 74.8 | 0 | 863 | 0 | 0 | 0.06 | L | H | L | H | 11:08:43.33
48 | 0 | 13569 | 20 | 13.79 | 13.27 | 560.7 | 103.7 | 0 | 0 | 0 | 74.8 | 0 | 826 | 0 | 0 | 0.06 | L | H | L | H | 11:08:44.41
49 | 0 | 13569 | 20 | 10.28 | 12.84 | 561.7 | 77 | 0 | 0 | 0 | 77 | 0 | 616 | 0 | 0 | 0.04 | L | H | L | H | 11:08:50.60
50 | 0 | 13569 | 20 | 10.23 | 12.83 | 561.6 | 76.7 | 0 | 0 | 0 | 77 | 0 | 613 | 0 | 0 | 0.04 | L | H | L | H | 11:08:50.68
51 | 0 | 13569 | 20 | 10.19 | 12.77 | 561.5 | 76.3 | 0 | 0 | 0 | 77 | 0 | 610 | 0 | 0 | 0.04 | L | H | L | H | 11:08:50.76
52 | 0 | 13569 | 20 | 8.95 | 12.59 | 561.5 | 66.9 | 0 | 0 | 0 | 77.7 | 0 | 536 | 0 | 0 | 0.03 | L | H | L | H | 11:08:52.95
53 | 0 | 13569 | 20 | 8.9 | 12.5 | 561.3 | 66.6 | 0 | 0 | 0 | 77 | 0 | 533 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.03
54 | 0 | 13569 | 20 | 8.86 | 12.54 | 561.3 | 66.2 | 0 | 0 | 0 | 77.7 | 0 | 531 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.11
55 | 0 | 13569 | 20 | 8.81 | 12.55 | 561.5 | 65.8 | 0 | 0 | 0 | 77.7 | 0 | 527 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.19
56 | 0 | 13569 | 20 | 8.76 | 12.58 | 561.4 | 65.5 | 0 | 0 | 0 | 77 | 0 | 525 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.27
57 | 0 | 13569 | 20 | 8.72 | 12.54 | 561.5 | 65.1 | 0 | 0 | 0 | 77.7 | 0 | 522 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.36
58 | 0 | 13569 | 20 | 8.67 | 12.47 | 561.4 | 64.8 | 0 | 0 | 0 | 77.7 | 0 | 519 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.44
59 | 0 | 13569 | 20 | 8.62 | 12.57 | 561.4 | 64.4 | 0 | 0 | 0 | 78.4 | 0 | 517 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.52
60 | 0 | 13569 | 20 | 8.52 | 12.52 | 561.5 | 63.7 | 0 | 0 | 0 | 77.7 | 0 | 510 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.70
61 | 0 | 13569 | 20 | 8.48 | 12.49 | 561.6 | 63.3 | 0 | 0 | 0 | 77.7 | 0 | 508 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.78
62 | 0 | 13569 | 20 | 8.43 | 12.57 | 561.6 | 62.9 | 0 | 0 | 0 | 77.7 | 0 | 505 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.86
63 | 0 | 13569 | 20 | 8.38 | 12.47 | 561.6 | 62.6 | 0 | 0 | 0 | 77.7 | 0 | 502 | 0 | 0 | 0.03 | L | H | L | H | 11:08:53.95
64 | 0 | 13569 | 20 | 8.34 | 12.46 | 561.7 | 62.2 | 0 | 0 | 0 | 77.7 | 0 | 499 | 0 | 0 | 0.03 | L | H | L | H | 11:08:54.03
65 | 0 | 13569 | 20 | 8.29 | 12.52 | 561.7 | 61.8 | 0 | 0 | 0 | 78.4 | 0 | 497 | 0 | 0 | 0.03 | L | H | L | H | 11:08:54.11
66 | 0 | 13569 | 20 | 7.68 | 12.31 | 561.8 | 57.2 | 0 | 0 | 0 | 77.7 | 0 | 460 | 0 | 0 | 0.03 | L | H | L | H | 11:08:55.19
67 | 0 | 13569 | 20 | 7.63 | 12.44 | 561.9 | 56.9 | 0 | 0 | 0 | 78.4 | 0 | 457 | 0 | 0 | 0.03 | L | H | L | H | 11:08:55.27
68 | 0 | 13569 | 20 | 7.02 | 12.36 | 561.8 | 52.2 | 0 | 0 | 0 | 78.4 | 0 | 420 | 0 | 0 | 0.03 | L | H | L | H | 11:08:56.35
69 | 0 | 13569 | 20 | 6.27 | 12.09 | 561.7 | 46.5 | 0 | 0 | 0 | 78.4 | 0 | 376 | 0 | 0 | 0.02 | L | H | L | H | 11:08:57.66
70 | 0 | 13569 | 20 | 6.23 | 12.17 | 561.8 | 46.1 | 0 | 0 | 0 | 78.4 | 0 | 373 | 0 | 0 | 0.02 | L | H | L | H | 11:08:57.75
71 | 0 | 13569 | 20 | 6.18 | 12 | 561.7 | 45.8 | 0 | 0 | 0 | 78.4 | 0 | 370 | 0 | 0 | 0.02 | L | H | L | H | 11:08:57.83
72 | 0 | 13569 | 20 | 5 | 11.7 | 560.9 | 36.8 | 0 | 0 | 0 | 77 | 0 | 299 | 0 | 0 | 0.02 | L | H | L | H | 11:08:59.92
73 | 0 | 13569 | 20 | 4.38 | 11.35 | 561.6 | 32.1 | 0 | 0 | 0 | 77 | 0 | 262 | 0 | 0 | 0.02 | L | H | L | H | 11:09:01.01
74 | 0 | 13569 | 20 | 4.28 | 11.42 | 561.6 | 31.3 | 0 | 0 | 0 | 77.7 | 0 | 256 | 0 | 0 | 0.02 | L | H | L | H | 11:09:01.19
75 | 0 | 13569 | 20 | 3.67 | 10.83 | 561.7 | 26.6 | 0 | 0 | 0 | 77 | 0 | 219 | 0 | 0 | 0.02 | L | H | L | H | 11:09:02.27
76 | 0 | 13569 | 20 | 1.85 | 10.42 | 562.2 | 13.4 | 0 | 0 | 0 | 72.7 | 0 | 111 | 0 | 0 | 0.01 | L | H | L | H | 11:09:05.47
77 | 0 | 13569 | 20 | 1.81 | 10.04 | 562.1 | 13 | 0 | 0 | 0 | 71.2 | 0 | 108 | 0 | 0 | 0.01 | L | H | L | H | 11:09:05.55
78 | 0 | 13569 | 20 | 1.76 | 9.71 | 562.2 | 12.7 | 0 | 0 | 0 | 71.2 | 0 | 105 | 0 | 0 | 0.01 | L | H | L | H | 11:09:05.63
79 | 0 | 9472 | 20 | 0 | 0 | 562.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:08.81
80 | 0 | 9472 | 20 | 0 | 0 | 562.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:08.89
81 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:08.98
82 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.06
83 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.14
84 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.22
85 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.30
86 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.39
87 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.47
88 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.65
89 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.73
90 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.81
91 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.90
92 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:09.98
93 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:10.06
94 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:10.14
95 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:10.23
96 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:10.31
97 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:09:10.39
98 | 0 | 13571 | 20 | 2.14 | 10.71 | 561.6 | 16.5 | 0 | 0 | 0 | 71.2 | 0 | 128 | 0 | 0 | 0.01 | L | H | L | H | 11:09:12.47
99 | 0 | 13571 | 20 | 2.3 | 10.64 | 561.8 | 17.5 | 0 | 0 | 0 | 73.4 | 0 | 137 | 0 | 0 | 0.01 | L | H | L | H | 11:09:12.65
100 | 0 | 13571 | 20 | 4.08 | 10.96 | 562.1 | 30.8 | 0 | 0 | 0 | 75.6 | 0 | 244 | 0 | 0 | 0.01 | L | H | L | H | 11:09:14.75
101 | 0 | 13571 | 20 | 4.15 | 11.19 | 562.1 | 31.4 | 0 | 0 | 0 | 75.6 | 0 | 248 | 0 | 0 | 0.01 | L | H | L | H | 11:09:14.83
102 | 0 | 13571 | 20 | 4.22 | 11.29 | 562.1 | 31.9 | 0 | 0 | 0 | 76.3 | 0 | 252 | 0 | 0 | 0.01 | L | H | L | H | 11:09:14.91
103 | 0 | 13571 | 20 | 7.69 | 12.55 | 561.1 | 58.3 | 0 | 0 | 0 | 77 | 0 | 460 | 0 | 0 | 0.02 | L | H | L | H | 11:09:19.00
104 | 0 | 13571 | 20 | 8.84 | 12.79 | 561.3 | 67.1 | 0 | 0 | 0 | 76.3 | 0 | 529 | 0 | 0 | 0.03 | L | H | L | H | 11:09:20.35
105 | 0 | 13571 | 20 | 8.91 | 12.76 | 561.3 | 67.6 | 0 | 0 | 0 | 76.3 | 0 | 533 | 0 | 0 | 0.03 | L | H | L | H | 11:09:20.43
106 | 0 | 13571 | 20 | 9.83 | 12.92 | 560.8 | 74.6 | 0 | 0 | 0 | 75.6 | 0 | 589 | 0 | 0 | 0.03 | L | H | L | H | 11:09:21.51
107 | 0 | 13571 | 20 | 10.75 | 13.02 | 560.8 | 81.6 | 0 | 0 | 0 | 75.6 | 0 | 644 | 0 | 0 | 0.04 | L | H | L | H | 11:09:22.60
108 | 0 | 13571 | 20 | 11.76 | 13.15 | 560.9 | 89.4 | 0 | 0 | 0 | 75.6 | 0 | 705 | 0 | 0 | 0.05 | L | H | L | H | 11:09:23.79
109 | 0 | 13571 | 20 | 12.78 | 13.25 | 560.7 | 97.1 | 0 | 0 | 0 | 74.8 | 0 | 765 | 0 | 0 | 0.05 | L | H | L | H | 11:09:24.98
110 | 0 | 13571 | 20 | 14.56 | 13.39 | 560.3 | 110.7 | 0 | 0 | 0 | 73.4 | 0 | 872 | 0 | 0 | 0.07 | L | H | L | H | 11:09:27.08
111 | 0 | 13571 | 20 | 14.72 | 13.42 | 560.2 | 111.9 | 0 | 0 | 0 | 73.4 | 0 | 882 | 0 | 0 | 0.07 | L | H | L | H | 11:09:27.27
112 | 0 | 13571 | 20 | 16.49 | 13.53 | 559.4 | 125.4 | 0 | 0 | 0 | 72 | 0 | 989 | 0 | 0 | 0.08 | L | H | L | H | 11:09:29.35
113 | 0 | 13571 | 20 | 16.56 | 13.54 | 559.4 | 126 | 0 | 0 | 0 | 72 | 0 | 993 | 0 | 0 | 0.08 | L | H | L | H | 11:09:29.43
114 | 0 | 13571 | 20 | 18.42 | 13.87 | 559.7 | 140.1 | 0 | 0 | 0 | 70.5 | 0 | 1104 | 0 | 0 | 0.1 | L | H | L | H | 11:09:31.61
115 | 0 | 13569 | 20 | 19.75 | 13.57 | 559.8 | 149.1 | 0 | 0 | 0 | 72 | 0 | 1184 | 0 | 0 | 0.11 | L | H | L | H | 11:09:42.21
116 | 0 | 13569 | 20 | 17.99 | 13.4 | 560 | 135.8 | 0 | 0 | 0 | 76.3 | 0 | 1079 | 0 | 0 | 0.08 | L | H | L | H | 11:09:45.30
117 | 0 | 13569 | 20 | 17.95 | 13.34 | 560 | 135.4 | 0 | 0 | 0 | 75.6 | 0 | 1076 | 0 | 0 | 0.08 | L | H | L | H | 11:09:45.38
118 | 0 | 13569 | 20 | 17.9 | 13.35 | 559.9 | 135 | 0 | 0 | 0 | 76.3 | 0 | 1073 | 0 | 0 | 0.08 | L | H | L | H | 11:09:45.46
119 | 0 | 13569 | 20 | 12.66 | 13.09 | 561 | 95.2 | 0 | 0 | 0 | 76.3 | 0 | 759 | 0 | 0 | 0.05 | L | H | L | H | 11:09:54.70
120 | 0 | 13569 | 20 | 9.76 | 12.89 | 561.2 | 73 | 0 | 0 | 0 | 77.7 | 0 | 585 | 0 | 0 | 0.04 | L | H | L | H | 11:09:59.83
121 | 0 | 13569 | 20 | 8.52 | 12.69 | 561.5 | 63.6 | 0 | 0 | 0 | 77.7 | 0 | 510 | 0 | 0 | 0.03 | L | H | L | H | 11:10:02.02
122 | 0 | 13569 | 20 | 8.47 | 12.67 | 561.4 | 63.3 | 0 | 0 | 0 | 78.4 | 0 | 508 | 0 | 0 | 0.03 | L | H | L | H | 11:10:02.10
123 | 0 | 13569 | 20 | 8.43 | 12.67 | 561.7 | 62.9 | 0 | 0 | 0 | 78.4 | 0 | 505 | 0 | 0 | 0.03 | L | H | L | H | 11:10:02.18
124 | 0 | 13569 | 20 | 8.38 | 12.67 | 561.8 | 62.5 | 0 | 0 | 0 | 78.4 | 0 | 502 | 0 | 0 | 0.03 | L | H | L | H | 11:10:02.26
125 | 0 | 13569 | 20 | 8.33 | 12.52 | 561.9 | 62.2 | 0 | 0 | 0 | 78.4 | 0 | 499 | 0 | 0 | 0.03 | L | H | L | H | 11:10:02.34
126 | 0 | 13569 | 20 | 8.29 | 12.55 | 561.9 | 61.8 | 0 | 0 | 0 | 78.4 | 0 | 496 | 0 | 0 | 0.03 | L | H | L | H | 11:10:02.42
127 | 0 | 13569 | 20 | 8.24 | 12.63 | 562 | 61.5 | 0 | 0 | 0 | 78.4 | 0 | 493 | 0 | 0 | 0.03 | L | H | L | H | 11:10:02.51
128 | 0 | 13569 | 20 | 8.19 | 12.52 | 562 | 61.2 | 0 | 0 | 0 | 78.4 | 0 | 490 | 0 | 0 | 0.03 | L | H | L | H | 11:10:02.59
129 | 0 | 13569 | 20 | 6.37 | 12.13 | 561.9 | 47.2 | 0 | 0 | 0 | 77.7 | 0 | 382 | 0 | 0 | 0.02 | L | H | L | H | 11:10:05.81
130 | 0 | 13569 | 20 | 5.18 | 11.75 | 561.6 | 38.2 | 0 | 0 | 0 | 77.7 | 0 | 310 | 0 | 0 | 0.02 | L | H | L | H | 11:10:07.90
131 | 0 | 13569 | 20 | 4.51 | 11.43 | 561.9 | 33.1 | 0 | 0 | 0 | 77 | 0 | 270 | 0 | 0 | 0.02 | L | H | L | H | 11:10:09.08
132 | 0 | 13569 | 20 | 4.47 | 11.33 | 562 | 32.7 | 0 | 0 | 0 | 77 | 0 | 267 | 0 | 0 | 0.02 | L | H | L | H | 11:10:09.16
133 | 0 | 13569 | 20 | 3.84 | 11.15 | 562 | 28 | 0 | 0 | 0 | 76.3 | 0 | 230 | 0 | 0 | 0.02 | L | H | L | H | 11:10:10.26
134 | 0 | 13569 | 20 | 2.03 | 9.83 | 562 | 14.6 | 0 | 0 | 0 | 72.7 | 0 | 121 | 0 | 0 | 0.01 | L | H | L | H | 11:10:13.47
135 | 0 | 13569 | 20 | 1.93 | 10.22 | 562.1 | 13.9 | 0 | 0 | 0 | 72 | 0 | 115 | 0 | 0 | 0.01 | L | H | L | H | 11:10:13.65
136 | 0 | 13569 | 20 | 1.31 | 8.87 | 561.8 | 9.4 | 0 | 0 | 0 | 67.6 | 0 | 78 | 0 | 0 | 0.01 | L | H | L | H | 11:10:14.74
137 | 0 | 13569 | 20 | 0.69 | 7.86 | 561.8 | 5 | 0 | 0 | 0 | 58.3 | 0 | 41 | 0 | 0 | 0.01 | L | H | L | H | 11:10:15.82
138 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.13
139 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.22
140 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.30
141 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.38
142 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.46
143 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.55
144 | 0 | 9472 | 20 | 0 | 0 | 562.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.63
145 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.71
146 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.79
147 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.87
148 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:17.96
149 | 0 | 9472 | 20 | 0 | 0 | 562.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:18.04
150 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:18.12
151 | 0 | 9472 | 20 | 0 | 0 | 562.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:18.20
152 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:18.29
153 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:18.37
154 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:18.45
155 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:18.53
156 | 0 | 9472 | 20 | 0 | 0 | 562.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | L | L | L | H | 11:10:18.62